{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["生活区总计908台","科教区总计861台"],"read":"whole","date_system":"1900"}

{"sheet":"生活区总计908台","index":0,"n_rows":83,"n_cols":4,"rows_kept":83,"merged":[[0,0,0,3],[1,0,1,3],[15,0,15,3],[25,0,25,3],[35,0,35,3],[47,0,47,3],[55,0,55,3],[61,0,61,3],[75,0,75,3]]}
["生活区空调汇总表"]
["学生A栋127台"]
["详细位置","空调品牌","类型","内机数量"]
["A栋学生宿舍内","美的","分体式挂壁",108]
["A栋中控室","美的","分体落地式",2]
["A栋中控室备用电源间","美的","分体式挂壁",2]
["A栋公共厕所","松下","天花式四面出风",1]
["A栋警务室","松下","天花式四面出风",2]
["A栋咖啡厅","美的","天花式四面出风",1]
["A栋咖啡厅","松下","天花式四面出风",2]
["A栋宿管室","美的","分体式挂壁",1]
["A栋电梯机房","美的","分体落地式",1]
["A栋弱电机房2间","美的","分体式挂壁",2]
["A栋2-4自习室","格力","分体落地式",3]
["A栋理发店与邮寄快递","美的","分体式挂壁",2]
["学生B栋116台"]
["详细位置","空调品牌","类型","内机数量"]
["B栋学生宿舍内","美的","分体式挂壁",100]
["B栋宿管室","美的","分体式挂壁",1]
["B栋电梯机房","美的","分体落地式",1]
["B栋弱电机房2间","美的","分体式挂壁",2]
["B栋2-4自习室","格力","分体落地式",3]
["B栋超市","松下","天花式四面出风",7]
["B栋超市仓库","美的","分体式挂壁",1]
["B栋物业办公室","美的","分体式挂壁",1]
["学生C栋192台"]
["详细位置","空调品牌","类型","数量"]
["C栋学生宿舍内","美的","分体式挂壁",172]
["C栋宿管室","美的","分体式挂壁",1]
["C栋电梯机房","美的","分体落地式",1]
["C栋弱电机房4间","美的","分体式挂壁",4]
["C栋2-8自习室","格力","分体落地式",7]
["C栋医务室","美的","分体式挂壁",3]
["C栋瑜伽房","美的","分体落地式",2]
["C栋健身房","格力","天花式四面出风",2]
["学生D栋254台"]
["详细位置","空调品牌","类型","内机数量"]
["D栋学生宿舍内","美的","分体式挂壁",232]
["D栋宿管室","美的","分体落地式",1]
["D栋电梯机房","美的","分体落地式",1]
["D栋弱电机房4间","美的","分体式挂壁",4]
["D栋8楼-9楼自习室","美的","分体落地式",2]
["D栋6楼-7楼自习室","美的","分体式挂壁",4]
["D栋2楼-5楼自习室","格力","分体落地式",7]
["D栋仓库办公室","美的","分体落地式",1]
["D栋仓库","美的","分体落地式",1]
["D栋健身房","美的","分体落地式",1]
["教工B栋102台"]
["详细位置","空调品牌","类型","内机数量"]
["教工B宿舍内","松下","分体式挂壁",28]
["教工B宿舍内","松下","分体式挂壁",63]
["教工B宿舍内03N","格力","分体式挂壁",7]
["教工B栋电梯机房","松下","分体式挂壁",1]
["教工B栋弱电机房2间","松下","分体式挂壁",2]
["教工B栋健身房","松下","天花式四面出风",1]
["生活区配电房与化学废品间8台"]
["详细位置","空调品牌","类型","内机数量"]
["电房维修间","美的","分体式挂壁",1]
["B高压房","美的","分体式挂壁",1]
["B配电房","美的","分体式挂壁",4]
["化学废品间","格力","分体式挂壁",2]
["食堂与学生中心66台"]
["详细位置","空调品牌","类型","内机数量"]
["食堂办公室","美的","分体式挂壁",1]
["食堂2楼小仓库","格力","分体落地式",1]
["食堂1楼卷闸门弱电机房","美的","分体式挂壁",1]
["食堂1楼卷闸门仓库","美的","天花式四面出风",1]
["食堂员工宿舍区","美的","天花式四面出风",3]
["食堂2楼弱电间","松下","分体式挂壁",1]
["食堂电梯机房2间","美的","分体式挂壁",2]
["食堂1楼大厅与出餐区","松下","天花式四面出风",7]
["食堂2楼大厅与出餐区","松下","天花式四面出风",23]
["食堂3楼大厅与出餐区","松下","天花式四面出风",14]
["食堂3楼VIP房","松下","天花式四面出风",6]
["学生中心","松下","天花式四面出风",6]
["高级公寓43台"]
["详细位置","空调品牌","类型","内机数量"]
["高级公寓入门厅","松下","多联机暗装风机盘管",2]
["高级公寓健身房","松下","天花式四面出风",6]
["高级公寓弱电机房","美的","分体式挂壁",1]
["高级公寓电梯机房2间","松下","分体式挂壁",2]
["高级公寓房间","松下","多联机式挂壁",8]
["高级公寓大厅与房间","松下","多联机暗装风机盘管",24]

{"sheet":"科教区总计861台","index":1,"n_rows":68,"n_cols":4,"rows_kept":68,"merged":[[0,0,0,3],[9,0,9,3],[21,0,21,3],[34,0,34,3],[46,0,46,3],[52,0,52,3],[56,0,56,3],[62,0,62,3]]}
["教学实验楼187台"]
["详细位置","空调品牌","类型","内机数量"]
["教学实验楼公共区域与更衣室","美的","四面出风嵌入式",6]
["教学实验楼办公室","松下","四面出风嵌入式",3]
["教学实验楼办公室","麦克菲尔","四面出风嵌入式",8]
["教学实验楼办公室","松下","两面出风嵌入式",31]
["教学实验楼1楼化学品仓库","格力","分体式挂壁",3]
["教学实验楼弱电机房","松下","分体式挂壁",3]
["教学实验楼电梯机房","松下","分体式挂壁",2]
["教学楼127台"]
["详细位置","空调品牌","类型","内机数量"]
["教学楼办公室","松下","四面出风嵌入式",15]
["教学楼阶梯教室","松下","多联机暗装风机盘管",14]
["教学楼教室","松下","四面出风嵌入式",79]
["教学六楼活动中心","海尔","四面出风嵌入式",2]
["教学六楼活动中心","海尔","分体式挂壁",6]
["教学楼电梯机房","松下","分体落地式",1]
["教学楼电梯机房","松下","分体式挂壁",1]
["教学楼弱电机房","松下","分体式挂壁",2]
["E107网络中心","美的","分体落地式",3]
["E107网络中心","未知","精密机房空调",4]
["行政楼197台"]
["详细位置","空调品牌","类型","内机数量"]
["行政楼1楼2楼大厅","松下","多联机暗装风机盘管",10]
["行政楼办公室与公共区域","松下","四面出风嵌入式",41]
["行政楼办公室与公共区域","松下","两面出风嵌入式",134]
["行政楼科报厅","约克","风管式分体空调机组",2]
["行政楼科报厅休息室和设备房","松下","分体式挂壁",2]
["行政楼电梯机房","松下","分体落地式",1]
["行政楼电梯机房","松下","分体式挂壁",1]
["行政楼弱电机房","美的","分体式挂壁",2]
["行政楼1楼实验室","格力","四面出风嵌入式",2]
["行政楼1楼实验室","格力","分体式挂壁",1]
["行政楼1楼实验室","格力","分体式挂壁",1]
["科研楼311台"]
["详细位置","空调品牌","类型","内机数量"]
["科研楼办公室","松下","天花式四面出风",109]
["科研楼办公室","松下","天花式两面出风",26]
["科研楼大厅","松下","多联机暗装风机盘管",4]
["科研楼茶水间与办公室","日立","天花式两面出风",12]
["科研楼电梯机房","松下","分体式挂壁",3]
["科研楼弱电机房","松下","多联机式挂壁",2]
["科研楼1楼仓库","安菲","分体式挂壁",3]
["科研楼1楼实验楼","松下","分体式挂壁",1]
["科研楼地下电镜室","三菱","天花式两面出风","未知"]
["科研楼地下电镜室","三菱","天花式两面出风","未知"]
["创意中心14台"]
["详细位置","空调品牌","类型","内机数量"]
["创意中心一层办公室","松下","多联机暗装分机盘管",4]
["创意中心一层公共区域","松下","多联机暗装分机盘管",4]
["创意中心二层公共区域","松下","多联机落地式",2]
["创意中心二层多媒体室","松下","多联机落地式",4]
["广以国际学校19台"]
["详细位置","空调品牌","类型","内机数量"]
["广以国际学校1-3楼","松下","四面出风嵌入式",16]
["广以国际学校1-3楼","松下","两面出风嵌入式",3]
["大门岗亭4台"]
["详细位置","空调品牌","类型","内机数量"]
["正大门岗亭","松下","分体式挂壁",1]
["2号门岗亭","美的","分体式挂壁",1]
["4号门岗亭","松智","分体式挂壁",1]
["7号门岗亭","松智","分体式挂壁",1]
["地下停车场6台"]
["详细位置","空调品牌","类型","内机数量"]
["地下小仓库","格力","分体式挂壁",1]
["地下化学品仓库","格力","分体式挂壁",1]
["地下化学品仓库","海尔","分体式挂壁",2]
["地下乒乓球室","格力","分体落地式",2]