{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["工程量报价清单"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"工程量报价清单","index":0,"n_rows":12,"n_cols":7,"rows_kept":12,"merged":[[0,0,0,6],[1,0,1,3],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,4,2,5],[2,6,3,6],[11,0,11,6]]}
["\n参考工程量清单 - 广东以色列理工学院南校区制安自行车停车棚项目"]
[{"$nulls":6},"报价日期：                "]
["No.","Content工程内容\n","单位","工程量","价格（RMB）",null,"Remarks"]
[{"$nulls":4},"单价","总价"]
["①","Carport main structure（Including ground excavation, foundations, embedded foundation components, lightning protection and grounding, main steel structure, membrane structure, ground restoration, and unforeseen underground pipeline repairs.）\n停车棚主结构（包括切割地面、基础、基础预埋件、防雷接地、主体钢结构、膜结构、地面石板修复、含不可预见的地下管网修复）","㎡",{"v":305,"d":"305.00"},null,null,"122m*2.5m=305㎡\n(The east side of the student dormitory)\nThe style and the size are based on the existing one\n学生宿舍东侧\n样式（含基础）尺寸参照校内现有停车棚样式"]
["②","Parking marking\n地面划线 热熔线","㎡",{"v":49,"d":"49.00"}]
["③","lightening protection detection(Tested by a third-party authoritative institution)\n防雷检测（第三方权威机构检测）","item\n项",{"v":1,"d":"1.00"},null,null,"按现行相关规范标准做好接地，并通过检测"]
["④","Temporary site fences, ground protection and sanitation cleaning\n现场临时围护、地面保护及清洁卫生\n","item\n项",{"v":1,"d":"1.00"}]
["⑤","\nReserve fund\n暂列金","item\n项",{"v":1,"d":"1.00"},{"v":4495,"d":"4495.00"},{"$f":"D9*E9","v":{"v":4495,"d":"4495.00"}}]
["⑥","Tax\n工程税管费","item\n项",{"v":1,"d":"1.00"}]
[null,"总价（含税）","元\nYuan"]
["注：该项目为总价包干，测试不过关整改至合格，甲方不支付额外的费用。"]